{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":24,"n_cols":4,"rows_kept":24,"merged":[[0,0,0,3],[1,0,1,3],[3,0,4,0],[3,1,4,1],[6,0,8,0],[6,1,8,1],[9,0,11,0],[9,1,11,1],[12,0,14,0],[12,1,14,1],[17,0,18,0],[17,1,18,1],[21,0,23,0],[21,1,23,1]]}
["附件三："]
["2019年度泵站（含46座泵站、5座一体化泵站）设备设施维修工作清单"]
["序号","设备名称","使用地点","目前现状"]
[1,"格栅机","赵家支沟泵站","圆钢锈蚀，齿耙断裂"]
[null,null,"杭集总泵站","轴承断裂，水下齿轮损坏"]
[2,"水泵出水管","绿杨新苑泵站","锈蚀破裂"]
[3,"止回阀","绿杨新苑泵站","损坏"]
[null,null,"杨庙2#泵站","阀板漏水"]
[null,null,"肖家泵站","磨损严重，有漏水"]
[4,"桥架","创业园泵站","锈蚀严重"]
[null,null,"赵家支沟泵站","锈蚀严重"]
[null,null,"绿杨新苑泵站","损坏"]
[5,"盖板","绿杨新苑泵站","锈蚀严重"]
[null,null,"新城河泵站","锈蚀严重"]
[null,null,"大学南路泵站","锈蚀严重"]
[6,"护栏","赵家支沟泵站","锈蚀严重，有断裂"]
[7,"防盗刺","扬瓜路泵站","缺失"]
[8,"水泵导轨","春江路泵站","锈蚀严重，有断裂"]
[null,null,"肖家泵站","导轨梁锈蚀"]
[9,"启闭机","杭集总泵站","电动机构线路板损坏"]
[10,"闸门","杨庙1#泵站","闸门丝杆弯曲"]
[11,"控制箱","肖家泵站","水泵控制箱端子排损坏"]
[null,null,"贾七路","水泵控制箱端子排损坏"]
[null,null,"杨庙1#泵站","闸门、格栅控制箱锈蚀严重"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}