{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["一期","二期","深度处理"],"not_rendered":{"defined_names":3},"read":"whole","date_system":"1900"}

{"sheet":"一期","index":0,"n_rows":321,"n_cols":16,"rows_kept":321,"merged":[[0,0,0,1],[1,0,1,15],[11,0,12,0],[11,1,12,1],[11,2,12,2],[13,0,14,0],[13,1,14,1],[13,2,14,2],[15,0,16,0],[15,1,16,1],[15,2,16,2],[18,0,20,0],[18,1,20,1],[18,2,20,2],[21,0,23,0],[21,1,23,1],[21,2,23,2],[24,0,26,0],[24,1,26,1],[24,2,26,2],[27,0,29,0],[27,1,29,1],[27,2,29,2],[30,0,32,0],[30,1,32,1],[30,2,32,2],[33,0,35,0],[33,1,35,1],[33,2,35,2],[36,0,38,0],[36,1,38,1],[36,2,38,2],[39,0,41,0],[39,1,41,1],[39,2,41,2],[42,0,43,0],[42,1,43,1],[42,2,43,2],[44,0,45,0],[44,1,45,1],[44,2,45,2],[46,0,47,0],[46,1,47,1],[46,2,47,2],[61,0,63,0],[61,1,63,1],[61,2,63,2],[64,0,66,0],[64,1,66,1],[64,2,66,2],[67,0,69,0],[67,1,69,1],[67,2,69,2],[70,0,71,0],[70,1,71,1],[70,2,71,2],[72,0,73,0],[72,1,73,1],[72,2,73,2],[74,0,76,0],[74,1,76,1],[74,2,76,2],[77,0,79,0],[77,1,79,1],[77,2,79,2],[80,0,82,0],[80,1,82,1],[80,2,82,2],[83,0,85,0],[83,1,85,1],[83,2,85,2],[86,1,87,1],[86,2,87,2],[98,0,99,0],[98,1,99,1],[98,2,99,2],[100,0,101,0],[100,1,101,1],[100,2,101,2],[102,0,103,0],[102,1,103,1],[102,2,103,2],[104,0,105,0],[104,1,105,1],[104,2,105,2],[106,0,108,0],[106,1,108,1],[106,2,108,2],[109,0,111,0],[109,1,111,1],[109,2,111,2],[112,0,114,0],[112,1,114,1],[112,2,114,2],[115,0,117,0],[115,1,117,1],[115,2,117,2],[118,0,120,0],[118,1,120,1],[118,2,120,2],[121,0,123,0],[121,1,123,1],[121,2,123,2],[124,0,126,0],[124,1,126,1],[124,2,126,2],[127,0,129,0],[127,1,129,1],[127,2,129,2],[130,0,132,0],[130,1,132,1],[130,2,132,2],[133,0,135,0],[133,1,135,1],[133,2,135,2],[136,0,138,0],[136,1,138,1],[136,2,138,2],[139,0,141,0],[139,1,141,1],[139,2,141,2],[142,0,144,0],[142,1,144,1],[142,2,144,2],[145,0,147,0],[145,1,147,1],[145,2,147,2],[148,0,150,0],[148,1,150,1],[148,2,150,2],[151,0,153,0],[151,1,153,1],[151,2,153,2],[154,0,156,0],[154,1,156,1],[154,2,156,2],[157,0,159,0],[157,1,159,1],[157,2,159,2],[160,0,162,0],[160,1,162,1],[160,2,162,2],[163,0,165,0],[163,1,165,1],[163,2,165,2],[166,0,168,0],[166,1,168,1],[166,2,168,2],[169,0,171,0],[169,1,171,1],[169,2,171,2],[172,0,174,0],[172,1,174,1],[172,2,174,2],[175,0,177,0],[175,1,177,1],[175,2,177,2],[178,0,180,0],[178,1,180,1],[178,2,180,2],[181,0,183,0],[181,1,183,1],[181,2,183,2],[184,0,186,0],[184,1,186,1],[184,2,186,2],[187,0,189,0],[187,1,189,1],[187,2,189,2],[226,0,229,0],[226,1,229,1],[226,2,229,2],[230,0,233,0],[230,1,233,1],[230,2,233,2],[242,0,244,0],[242,1,244,1],[242,2,244,2],[245,0,247,0],[245,1,247,1],[245,2,247,2],[248,0,249,0],[248,1,249,1],[248,2,249,2],[250,0,251,0],[250,1,251,1],[250,2,251,2],[252,0,253,0],[252,1,253,1],[252,2,253,2],[254,0,255,0],[254,1,255,1],[254,2,255,2],[256,0,259,0],[256,1,259,1],[256,2,259,2],[260,0,261,0],[260,1,261,1],[260,2,261,2],[262,0,263,0],[262,1,263,1],[262,2,263,2],[264,0,269,0],[264,1,269,1],[264,2,269,2],[270,0,275,0],[270,1,275,1],[270,2,275,2],[276,0,281,0],[276,1,281,1],[276,2,281,2],[282,0,287,0],[282,1,287,1],[282,2,287,2],[288,0,293,0],[288,1,293,1],[288,2,293,2],[294,0,299,0],[294,1,299,1],[294,2,299,2],[300,0,305,0],[300,1,305,1],[300,2,305,2],[320,0,320,1]]}
["附件一："]
["汤汪厂一期设备保养年计划"]
[{"$nulls":15},"2019年"]
["序号","设备名称","设备位置","保养项目","一月","二月","三月","四月","五月","六月","七月","八月","九月","十月","十一月","十二月"]
[1,"进水总闸门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[2,"1#电动阀门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[3,"2#电动阀门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[4,"3#电动阀门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[5,"4#电动阀门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[6,"5#电动阀门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[7,"6#电动阀门","进水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[8,"1#粗格栅","进水泵房","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱"]
[9,"2#粗格栅","进水泵房","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱"]
[10,"3#粗格栅","进水泵房","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱"]
[11,"皮带输送机","进水泵房","轴承、电机、更换易损件",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[12,"1#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[13,"2#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[14,"3#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[15,"4#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[16,"5#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[17,"6#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[18,"7#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[19,"8#潜污泵","进水泵房","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",null,null,"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",null,null,"●★"]
[20,"1#细格栅","细格栅间","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[21,"2#细格栅","细格栅间","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[22,"3#细格栅","细格栅间","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[23,"栅渣输送机","细格栅间","减速箱；轴承、电机、更换易损件",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[24,"1#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[25,"2#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[26,"3#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[27,"4#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[28,"5#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[29,"6#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[30,"7#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[31,"8#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[32,"9#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[33,"10#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[34,"11#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[35,"12#不锈钢提板闸门","细格栅间","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[36,"1#罗茨风机","曝气风机房","轴承、垫片、密封",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"v皮带、过滤器滤芯",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"检查轴承润滑脂","●",null,null,"●",null,null,"●",null,null,"●"]
[37,"2#罗茨风机","曝气风机房","轴承、垫片、密封",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"v皮带、过滤器滤芯",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"检查轴承润滑脂","●",null,null,"●",null,null,"●",null,null,"●"]
[38,"3#罗茨风机","曝气风机房","轴承、垫片、密封",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"v皮带、过滤器滤芯",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"检查轴承润滑脂","●",null,null,"●",null,null,"●",null,null,"●"]
[39,"1#桥式除砂机（东）","曝气沉砂池","轴承",{"$nulls":3},"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":3},"★"]
[40,"2#桥式除砂机（西）","曝气沉砂池","轴承",{"$nulls":3},"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":3},"★"]
[41,"1#吸砂泵","曝气沉砂池","提砂情况","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",{"$nulls":3},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":3},"●"]
[42,"2#吸砂泵","曝气沉砂池","提砂情况","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",{"$nulls":3},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":3},"●"]
[43,"3#吸砂泵","曝气沉砂池","提砂情况","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",{"$nulls":3},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":3},"●"]
[44,"4#吸砂泵","曝气沉砂池","提砂情况","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",{"$nulls":3},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":3},"●"]
[45,"砂水分离器","曝气沉砂池","减速箱",null,null,"★"]
[46,null,null,"轴承",null,null,"★",{"$nulls":5},"★"]
[47,"1#电动阀门","选择池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[48,"2#电动阀门","选择池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[49,"1#可调节堰门","选择池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[50,"2#可调节堰门","选择池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[51,"1#手动闸门","选择池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[52,"2#手动闸门","选择池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[53,"1#电动闸板阀","选择池","轴承、丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[54,"2#电动闸板阀","选择池","轴承、丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[55,"3#电动闸板阀","选择池","轴承、丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[56,"4#电动闸板阀","选择池","轴承、丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[57,"1#搅拌器","选择池","轴承",{"$nulls":11},"★"]
[{"$nulls":3},"减速箱",{"$nulls":11},"★"]
[58,"2#搅拌器","选择池","轴承",{"$nulls":11},"★"]
[{"$nulls":3},"减速箱",{"$nulls":11},"★"]
[59,"3#搅拌器","选择池","轴承",{"$nulls":11},"★"]
[{"$nulls":3},"减速箱",{"$nulls":11},"★"]
[60,"4#搅拌器","选择池","轴承",{"$nulls":11},"★"]
[{"$nulls":3},"减速箱",{"$nulls":11},"★"]
[61,"1#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[62,"2#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[63,"3#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[64,"4#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[65,"5#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[66,"6#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[67,"7#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[68,"8#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[69,"9#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[70,"10#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[71,"11#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[72,"12#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[73,"13#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[74,"14#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[75,"15#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[76,"16#撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承","★",{"$nulls":5},"★"]
[{"$nulls":3},"齿轮箱","★"]
[77,"1#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[78,"2#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[79,"3#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[80,"4#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[81,"5#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[82,"6#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[83,"7#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查",{"$nulls":4},"★"]
[84,"8#回流污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查",{"$nulls":4},"★"]
[85,"1#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[86,"2#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[87,"3#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[88,"4#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[89,"1#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[90,"2#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[91,"3#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[92,"4#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[93,"5#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[94,"6#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[95,"7#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[96,"8#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[97,"9#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[98,"10#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[99,"11#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[100,"12#刀阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[101,"1#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[102,"2#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[103,"3#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[104,"4#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[105,"5#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[106,"6#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[107,"7#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[108,"8#手动闸门（方）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[109,"1#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[110,"2#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[111,"3#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[112,"4#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[113,"5#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[114,"6#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[115,"7#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[116,"8#手动闸门（圆）","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[117,"1#电动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[118,"2#电动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[119,"3#电动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[120,"4#电动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[121,"1#手动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[122,"2#手动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[123,"3#手动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[124,"4#手动蝶阀","生物池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[125,"1#中心传动浓缩机","浓缩池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"油位、联轴器",{"$nulls":3},"★●",{"$nulls":5},"★●"]
[{"$nulls":3},"减速箱",{"$nulls":3},"★"]
[{"$nulls":3},"轴承（油杯）",{"$nulls":3},"★"]
[126,"2#中心传动浓缩机","浓缩池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"油位、联轴器",{"$nulls":3},"★●",{"$nulls":5},"★●"]
[{"$nulls":3},"减速箱",{"$nulls":3},"★"]
[{"$nulls":3},"轴承（油杯）",{"$nulls":3},"★",{"$nulls":5},"★"]
[127,"1#污泥泵","排泥泵房","轴承",null,"★",{"$nulls":5},"★"]
[128,"2#污泥泵","排泥泵房","轴承",null,"★",{"$nulls":5},"★"]
[129,"1#刀阀","排泥泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[130,"2#刀阀","排泥泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[131,"3#刀阀","排泥泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[132,"4#刀阀","排泥泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[133,"5#刀阀","排泥泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[134,"6#刀阀","排泥泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[135,"1#污泥粉碎机","排泥泵房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"电机轴承",{"$nulls":5},"★",{"$nulls":5},"★"]
[{"$nulls":3},"检查刀片、清除杂物",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[136,"2#污泥粉碎机","排泥泵房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"电机轴承",{"$nulls":5},"★",{"$nulls":5},"★"]
[{"$nulls":3},"检查刀片、清除杂物",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[137,"1#污泥螺杆泵","排泥泵房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"转子、定子",{"$nulls":5},"●",{"$nulls":5},"●"]
[138,"2#污泥螺杆泵","排泥泵房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"转子、定子",{"$nulls":5},"●",{"$nulls":5},"●"]
[139,"1#加药泵","脱水机房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"转子、定子",{"$nulls":5},"●",{"$nulls":5},"●"]
[140,"2#加药泵","脱水机房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"转子、定子",{"$nulls":5},"●",{"$nulls":5},"●"]
[141,"1#离心脱水机","脱水机房","液压站液压油、液压油滤芯",null,null,"★",{"$nulls":5},"★"]
[{"$nulls":3},"螺旋轴承","●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"主轴承","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"泄漏检查、油位（检查玻璃视窗）、油温检查（40～60）","●","●","●","●","●","●","●","●","●","●","●","●"]
[142,"无轴螺旋输送机（室内）","脱水机房","轴承",{"$nulls":3},"★",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":9},"★"]
[143,"无轴螺旋输送机（室外）","脱水机房","轴承",{"$nulls":3},"★",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":9},"★"]
[144,"1#罗茨风机（变频）","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[145,"2#罗茨风机","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[146,"3#罗茨风机","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[147,"4#罗茨风机（变频）","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[148,"5#罗茨风机","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[149,"6#罗茨风机","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[150,"7#罗茨风机（变频）","风机房","空气过滤器、油位","●","●","★","●","●","★","●","●","★","●","●","★"]
[{"$nulls":3},"轴承",null,"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺旋杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[151,"1#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[152,"2#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[153,"3#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[154,"4#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[155,"5#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[156,"6#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[157,"7#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[158,"8#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[159,"1#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[160,"2#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[161,"3#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[162,"4#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[]
[null,"注：●－－一级保养   　  　",{"$nulls":4},"★－－二级保养  "]
["编制：",{"$nulls":3},"审核：",{"$nulls":3},"批准：",{"$nulls":3},"编制日期："]

{"sheet":"二期","index":1,"n_rows":213,"n_cols":16,"rows_kept":213,"merged":[[0,0,0,15],[3,0,4,0],[3,1,4,1],[3,2,4,2],[5,0,7,0],[5,1,7,1],[5,2,7,2],[8,0,10,0],[8,1,10,1],[8,2,10,2],[11,0,13,0],[11,1,13,1],[11,2,13,2],[14,0,16,0],[14,1,16,1],[14,2,16,2],[17,0,19,0],[17,1,19,1],[17,2,19,2],[20,0,22,0],[20,1,22,1],[20,2,22,2],[23,0,25,0],[23,1,25,1],[23,2,25,2],[26,0,28,0],[26,1,28,1],[26,2,28,2],[29,0,31,0],[29,1,31,1],[29,2,31,2],[32,0,34,0],[32,1,34,1],[32,2,34,2],[35,0,37,0],[35,1,37,1],[35,2,37,2],[38,0,40,0],[38,1,40,1],[38,2,40,2],[41,0,43,0],[41,1,43,1],[41,2,43,2],[44,0,46,0],[44,1,46,1],[44,2,46,2],[47,0,49,0],[47,1,49,1],[47,2,49,2],[50,0,52,0],[50,1,52,1],[50,2,52,2],[53,0,55,0],[53,1,55,1],[53,2,55,2],[56,0,58,0],[56,1,58,1],[56,2,58,2],[59,0,61,0],[59,1,61,1],[59,2,61,2],[62,0,64,0],[62,1,64,1],[62,2,64,2],[65,0,67,0],[65,1,67,1],[65,2,67,2],[68,0,70,0],[68,1,70,1],[68,2,70,2],[71,0,73,0],[71,1,73,1],[71,2,73,2],[74,0,76,0],[74,1,76,1],[74,2,76,2],[89,0,90,0],[89,1,90,1],[89,2,90,2],[91,0,92,0],[91,1,92,1],[91,2,92,2],[93,0,94,0],[93,1,94,1],[93,2,94,2],[95,0,96,0],[95,1,96,1],[95,2,96,2],[97,0,98,0],[97,1,98,1],[97,2,98,2],[99,0,100,0],[99,1,100,1],[99,2,100,2],[101,0,102,0],[101,1,102,1],[101,2,102,2],[103,0,104,0],[103,1,104,1],[103,2,104,2],[105,0,106,0],[105,1,106,1],[105,2,106,2],[107,0,108,0],[107,1,108,1],[107,2,108,2],[109,0,110,0],[109,1,110,1],[109,2,110,2],[111,0,112,0],[111,1,112,1],[111,2,112,2],[113,0,114,0],[113,1,114,1],[113,2,114,2],[115,0,116,0],[115,1,116,1],[115,2,116,2],[117,0,118,0],[117,1,118,1],[117,2,118,2],[119,0,120,0],[119,1,120,1],[119,2,120,2],[121,0,126,0],[121,1,126,1],[121,2,126,2],[127,0,132,0],[127,1,132,1],[127,2,132,2],[133,0,138,0],[133,1,138,1],[133,2,138,2],[139,0,144,0],[139,1,144,1],[139,2,144,2],[145,0,150,0],[145,1,150,1],[145,2,150,2],[151,0,152,0],[151,1,152,1],[151,2,152,2],[153,0,154,0],[153,1,154,1],[153,2,154,2],[156,0,159,0],[156,1,159,1],[156,2,159,2],[160,0,163,0],[160,1,163,1],[160,2,163,2],[164,0,167,0],[164,1,167,1],[164,2,167,2],[168,0,170,0],[168,1,170,1],[168,2,170,2],[171,0,173,0],[171,1,173,1],[171,2,173,2],[174,0,176,0],[174,1,176,1],[174,2,176,2],[177,0,179,0],[177,1,179,1],[177,2,179,2],[180,0,182,0],[180,1,182,1],[180,2,182,2],[183,0,185,0],[183,1,185,1],[183,2,185,2],[186,0,188,0],[186,1,188,1],[186,2,188,2],[189,0,191,0],[189,1,191,1],[189,2,191,2],[212,0,212,1]]}
["汤汪厂二期设备保养年计划"]
[{"$nulls":14},"2019年"]
["序号","设备名称","设备位置","保养项目","一月","二月","三月","四月","五月","六月","七月","八月","九月","十月","十一月","十二月"]
[1,"2期1#细格栅","细格栅间","轴承",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[2,"2期1#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[3,"2期2#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[4,"2期3#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[5,"2期4#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[6,"2期5#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[7,"2期6#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[8,"2期7#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[9,"2期8#旋转式撇水器","生物池","有无漏油、异响、震动","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"轴承",null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"齿轮箱",{"$nulls":7},"★"]
[10,"2期1#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[11,"2期2#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[12,"2期3#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[13,"2期4#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[14,"2期5#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[15,"2期6#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[16,"2期7#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[17,"2期8#回流泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[18,"2期1#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[19,"2期2#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[20,"2期3#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[21,"2期4#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[22,"2期5#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[23,"2期6#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[24,"2期7#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[25,"2期8#剩余污泥泵","生物池","绝缘电阻、电器电缆、提升链",{"$nulls":4},"●"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"整体检查"]
[26,"2期1#手电二用提升闸门","生物池","丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[27,"2期2#手电二用提升闸门","生物池","丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[28,"2期3#手电二用提升闸门","生物池","丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[29,"2期4#手电二用提升闸门","生物池","丝杆","●","●","●","●","●","●","●","●","●","●","●","●"]
[30,"2期1#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[31,"2期2#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[32,"2期3#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[33,"2期4#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[34,"2期5#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[35,"2期6#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[36,"2期7#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[37,"2期8#手动闸门","生物池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[38,"2期1#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[39,"2期2#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[40,"2期3#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[41,"2期4#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[42,"2期5#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[43,"2期6#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[44,"2期7#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[45,"2期8#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[46,"2期9#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[47,"2期10#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[48,"2期11#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[49,"2期12#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[50,"2期13#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[51,"2期14#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[52,"2期15#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[53,"2期16#潜水搅拌器","生物池","轴承",{"$nulls":5},"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★"]
[54,"2期1#鼓风机","风机房","空气过滤器、油位","●","★","●","●","★","●","●","★","●","●","★","●"]
[{"$nulls":3},"轴承",{"$nulls":8},"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[55,"2期2#鼓风机","风机房","空气过滤器、油位"]
[{"$nulls":3},"轴承"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带"]
[{"$nulls":3},"止回阀"]
[{"$nulls":3},"马达支撑螺杆、皮带轮"]
[{"$nulls":3},"电机轴承"]
[56,"2期3#鼓风机","风机房","空气过滤器、油位","●","★","●","●","★","●","●","★","●","●","★","●"]
[{"$nulls":3},"轴承",{"$nulls":8},"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[57,"2期4#鼓风机","风机房","空气过滤器、油位","●","★","●","●","★","●","●","★","●","●","★","●"]
[{"$nulls":3},"轴承",{"$nulls":8},"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"止回阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[58,"2期5#鼓风机","风机房","空气过滤器、油位","●","★","●","●","★","●","●","★","●","●","★","●"]
[{"$nulls":3},"轴承",{"$nulls":8},"★"]
[{"$nulls":3},"消音罩通气孔、安全阀、皮带","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"排气温度",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"马达支撑螺杆、皮带轮","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"电机轴承",null,"●",null,"●",null,"●",null,"●",null,"●",null,"●"]
[59,"2期1#污泥泵","排泥泵房","减速箱",{"$nulls":5},"★"]
[{"$nulls":3},"定子、转子",{"$nulls":5},"★"]
[60,"2期1#污泥粉碎机","排泥泵房","刀片、清除杂物",null,null,"★",null,null,"★",null,null,"★",null,null,"★"]
[{"$nulls":3},"减速箱",{"$nulls":5},"★",{"$nulls":5},"★"]
[61,"2期1#加药泵","脱水机房","轴承",{"$nulls":5},"★",{"$nulls":5},"★"]
[62,"3#离心脱水机","脱水机房","液压站液压油、液压油滤芯",null,null,"★",{"$nulls":5},"★"]
[{"$nulls":3},"螺旋轴承","●",null,null,"●",null,null,"●",null,null,"●",null,"●"]
[{"$nulls":3},"泄漏检查、油位（检查玻璃视窗）、油温检查（40～60）","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"主轴承","●","●","●","●","●","●","●","●","●","●","●","●"]
[63,"1期紫外线消毒装置","出水泵房","低水位传感棒","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"套筒","●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"清洗模块","●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"ACS快速接头",{"$nulls":5},"●",{"$nulls":5},"●"]
[64,"2期紫外线消毒装置","出水泵房","低水位传感棒","●","●","●","●","●","●","●","●","●","●","●","●"]
[{"$nulls":3},"套筒","●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"清洗模块","●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"ACS快速接头",{"$nulls":5},"●",{"$nulls":5},"●"]
[65,"2期出水泵房1#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[66,"2期出水泵房2#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[67,"2期出水泵房3#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[68,"2期出水泵房4#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[69,"2期出水泵房5#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[70,"2期出水泵房6#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[71,"2期出水泵房7#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[72,"2期出水泵房8#潜水泵","出水泵房","绝缘电阻、电器电缆、提升链",{"$nulls":10},"★"]
[{"$nulls":3},"轴承、油室、传感器、机械密封、冷却液",{"$nulls":10},"★"]
[{"$nulls":3},"整体检查"]
[73,"2期1#电动阀门","出水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[74,"2期2#电动阀门","出水泵房","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[75,"2期1#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[76,"2期2#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[77,"2期3#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[78,"2期4#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[79,"2期5#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[80,"2期6#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[81,"2期7#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[82,"2期8#DO仪","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[83,"2期1#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[84,"2期2#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[85,"2期3#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[86,"2期4#污泥浓度计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[87,"2期1#氧化还原计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[88,"2期2#氧化还原计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[89,"2期3#氧化还原计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[90,"2期4#氧化还原计","生物池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[]
[null,"注：●－－一级保养   　  　",{"$nulls":4},"★－－二级保养  "]
["编制：",{"$nulls":3},"审核：",{"$nulls":3},"批准：",{"$nulls":3},"编制日期："]

{"sheet":"深度处理","index":2,"n_rows":387,"n_cols":16,"rows_kept":387,"merged":[[41,5,42,5],[41,6,42,6],[41,7,42,7],[41,8,42,8],[41,9,42,9],[41,10,42,10],[41,11,42,11],[41,12,42,12],[41,13,42,13],[41,14,42,14],[41,15,42,15],[43,5,44,5],[43,6,44,6],[43,7,44,7],[43,8,44,8],[43,9,44,9],[43,10,44,10],[43,11,44,11],[43,12,44,12],[43,13,44,13],[43,14,44,14],[43,15,44,15],[53,5,54,5],[53,6,54,6],[53,7,54,7],[53,8,54,8],[53,9,54,9],[53,10,54,10],[53,11,54,11],[53,12,54,12],[53,13,54,13],[53,14,54,14],[53,15,54,15],[55,5,56,5],[55,6,56,6],[55,7,56,7],[55,8,56,8],[55,9,56,9],[55,10,56,10],[55,11,56,11],[55,12,56,12],[55,13,56,13],[55,14,56,14],[55,15,56,15],[57,5,58,5],[57,6,58,6],[57,7,58,7],[57,8,58,8],[57,9,58,9],[57,10,58,10],[57,11,58,11],[57,12,58,12],[57,13,58,13],[57,14,58,14],[57,15,58,15],[59,5,60,5],[59,6,60,6],[59,7,60,7],[59,8,60,8],[59,9,60,9],[59,10,60,10],[59,11,60,11],[59,12,60,12],[59,13,60,13],[59,14,60,14],[59,15,60,15],[61,5,62,5],[61,6,62,6],[61,7,62,7],[61,8,62,8],[61,9,62,9],[61,10,62,10],[61,11,62,11],[61,12,62,12],[61,13,62,13],[61,14,62,14],[61,15,62,15],[63,5,64,5],[63,6,64,6],[63,7,64,7],[63,8,64,8],[63,9,64,9],[63,10,64,10],[63,11,64,11],[63,12,64,12],[63,13,64,13],[63,14,64,14],[63,15,64,15],[65,5,66,5],[65,6,66,6],[65,7,66,7],[65,8,66,8],[65,9,66,9],[65,10,66,10],[65,11,66,11],[65,12,66,12],[65,13,66,13],[65,14,66,14],[65,15,66,15],[67,5,68,5],[67,6,68,6],[67,7,68,7],[67,8,68,8],[67,9,68,9],[67,10,68,10],[67,11,68,11],[67,12,68,12],[67,13,68,13],[67,14,68,14],[67,15,68,15],[69,5,70,5],[69,6,70,6],[69,7,70,7],[69,8,70,8],[69,9,70,9],[69,10,70,10],[69,11,70,11],[69,12,70,12],[69,13,70,13],[69,14,70,14],[69,15,70,15],[71,5,72,5],[71,6,72,6],[71,7,72,7],[71,8,72,8],[71,9,72,9],[71,10,72,10],[71,11,72,11],[71,12,72,12],[71,13,72,13],[71,14,72,14],[71,15,72,15],[73,5,74,5],[73,6,74,6],[73,7,74,7],[73,8,74,8],[73,9,74,9],[73,10,74,10],[73,11,74,11],[73,12,74,12],[73,13,74,13],[73,14,74,14],[73,15,74,15],[75,5,76,5],[75,6,76,6],[75,7,76,7],[75,8,76,8],[75,9,76,9],[75,10,76,10],[75,11,76,11],[75,12,76,12],[75,13,76,13],[75,14,76,14],[75,15,76,15],[77,5,78,5],[77,6,78,6],[77,7,78,7],[77,8,78,8],[77,9,78,9],[77,10,78,10],[77,11,78,11],[77,12,78,12],[77,13,78,13],[77,14,78,14],[77,15,78,15],[79,5,80,5],[79,6,80,6],[79,7,80,7],[79,8,80,8],[79,9,80,9],[79,10,80,10],[79,11,80,11],[79,12,80,12],[79,13,80,13],[79,14,80,14],[79,15,80,15],[81,5,82,5],[81,6,82,6],[81,7,82,7],[81,8,82,8],[81,9,82,9],[81,10,82,10],[81,11,82,11],[81,12,82,12],[81,13,82,13],[81,14,82,14],[81,15,82,15],[83,5,84,5],[83,6,84,6],[83,7,84,7],[83,8,84,8],[83,9,84,9],[83,10,84,10],[83,11,84,11],[83,12,84,12],[83,13,84,13],[83,14,84,14],[83,15,84,15],[85,5,86,5],[85,6,86,6],[85,7,86,7],[85,8,86,8],[85,9,86,9],[85,10,86,10],[85,11,86,11],[85,12,86,12],[85,13,86,13],[85,14,86,14],[85,15,86,15],[87,5,88,5],[87,6,88,6],[87,7,88,7],[87,8,88,8],[87,9,88,9],[87,10,88,10],[87,11,88,11],[87,12,88,12],[87,13,88,13],[87,14,88,14],[87,15,88,15],[89,5,90,5],[89,6,90,6],[89,7,90,7],[89,8,90,8],[89,9,90,9],[89,10,90,10],[89,11,90,11],[89,12,90,12],[89,13,90,13],[89,14,90,14],[89,15,90,15],[91,5,92,5],[91,6,92,6],[91,7,92,7],[91,8,92,8],[91,9,92,9],[91,10,92,10],[91,11,92,11],[91,12,92,12],[91,13,92,13],[91,14,92,14],[91,15,92,15],[93,5,94,5],[93,6,94,6],[93,7,94,7],[93,8,94,8],[93,9,94,9],[93,10,94,10],[93,11,94,11],[93,12,94,12],[93,13,94,13],[93,14,94,14],[93,15,94,15],[95,5,96,5],[95,6,96,6],[95,7,96,7],[95,8,96,8],[95,9,96,9],[95,10,96,10],[95,11,96,11],[95,12,96,12],[95,13,96,13],[95,14,96,14],[95,15,96,15],[97,5,98,5],[97,6,98,6],[97,7,98,7],[97,8,98,8],[97,9,98,9],[97,10,98,10],[97,11,98,11],[97,12,98,12],[97,13,98,13],[97,14,98,14],[97,15,98,15],[99,5,100,5],[99,6,100,6],[99,7,100,7],[99,8,100,8],[99,9,100,9],[99,10,100,10],[99,11,100,11],[99,12,100,12],[99,13,100,13],[99,14,100,14],[99,15,100,15],[101,5,102,5],[101,6,102,6],[101,7,102,7],[101,8,102,8],[101,9,102,9],[101,10,102,10],[101,11,102,11],[101,12,102,12],[101,13,102,13],[101,14,102,14],[101,15,102,15],[103,5,104,5],[103,6,104,6],[103,7,104,7],[103,8,104,8],[103,9,104,9],[103,10,104,10],[103,11,104,11],[103,12,104,12],[103,13,104,13],[103,14,104,14],[103,15,104,15],[105,5,106,5],[105,6,106,6],[105,7,106,7],[105,8,106,8],[105,9,106,9],[105,10,106,10],[105,11,106,11],[105,12,106,12],[105,13,106,13],[105,14,106,14],[105,15,106,15],[107,5,108,5],[107,6,108,6],[107,7,108,7],[107,8,108,8],[107,9,108,9],[107,10,108,10],[107,11,108,11],[107,12,108,12],[107,13,108,13],[107,14,108,14],[107,15,108,15],[109,5,110,5],[109,6,110,6],[109,7,110,7],[109,8,110,8],[109,9,110,9],[109,10,110,10],[109,11,110,11],[109,12,110,12],[109,13,110,13],[109,14,110,14],[109,15,110,15],[111,5,112,5],[111,6,112,6],[111,7,112,7],[111,8,112,8],[111,9,112,9],[111,10,112,10],[111,11,112,11],[111,12,112,12],[111,13,112,13],[111,14,112,14],[111,15,112,15],[113,5,114,5],[113,6,114,6],[113,7,114,7],[113,8,114,8],[113,9,114,9],[113,10,114,10],[113,11,114,11],[113,12,114,12],[113,13,114,13],[113,14,114,14],[113,15,114,15],[115,5,116,5],[115,6,116,6],[115,7,116,7],[115,8,116,8],[115,9,116,9],[115,10,116,10],[115,11,116,11],[115,12,116,12],[115,13,116,13],[115,14,116,14],[115,15,116,15],[117,5,118,5],[117,6,118,6],[117,7,118,7],[117,8,118,8],[117,9,118,9],[117,10,118,10],[117,11,118,11],[117,12,118,12],[117,13,118,13],[117,14,118,14],[117,15,118,15],[119,5,120,5],[119,6,120,6],[119,7,120,7],[119,8,120,8],[119,9,120,9],[119,10,120,10],[119,11,120,11],[119,12,120,12],[119,13,120,13],[119,14,120,14],[119,15,120,15],[121,5,122,5],[121,6,122,6],[121,7,122,7],[121,8,122,8],[121,9,122,9],[121,10,122,10],[121,11,122,11],[121,12,122,12],[121,13,122,13],[121,14,122,14],[121,15,122,15],[123,5,124,5],[123,6,124,6],[123,7,124,7],[123,8,124,8],[123,9,124,9],[123,10,124,10],[123,11,124,11],[123,12,124,12],[123,13,124,13],[123,14,124,14],[123,15,124,15],[125,5,126,5],[125,6,126,6],[125,7,126,7],[125,8,126,8],[125,9,126,9],[125,10,126,10],[125,11,126,11],[125,12,126,12],[125,13,126,13],[125,14,126,14],[125,15,126,15],[127,5,128,5],[127,6,128,6],[127,7,128,7],[127,8,128,8],[127,9,128,9],[127,10,128,10],[127,11,128,11],[127,12,128,12],[127,13,128,13],[127,14,128,14],[127,15,128,15],[129,5,130,5],[129,6,130,6],[129,7,130,7],[129,8,130,8],[129,9,130,9],[129,10,130,10],[129,11,130,11],[129,12,130,12],[129,13,130,13],[129,14,130,14],[129,15,130,15],[131,5,132,5],[131,6,132,6],[131,7,132,7],[131,8,132,8],[131,9,132,9],[131,10,132,10],[131,11,132,11],[131,12,132,12],[131,13,132,13],[131,14,132,14],[131,15,132,15],[133,5,134,5],[133,6,134,6],[133,7,134,7],[133,8,134,8],[133,9,134,9],[133,10,134,10],[133,11,134,11],[133,12,134,12],[133,13,134,13],[133,14,134,14],[133,15,134,15],[135,5,136,5],[135,6,136,6],[135,7,136,7],[135,8,136,8],[135,9,136,9],[135,10,136,10],[135,11,136,11],[135,12,136,12],[135,13,136,13],[135,14,136,14],[135,15,136,15],[137,5,138,5],[137,6,138,6],[137,7,138,7],[137,8,138,8],[137,9,138,9],[137,10,138,10],[137,11,138,11],[137,12,138,12],[137,13,138,13],[137,14,138,14],[137,15,138,15],[139,5,140,5],[139,6,140,6],[139,7,140,7],[139,8,140,8],[139,9,140,9],[139,10,140,10],[139,11,140,11],[139,12,140,12],[139,13,140,13],[139,14,140,14],[139,15,140,15],[141,5,142,5],[141,6,142,6],[141,7,142,7],[141,8,142,8],[141,9,142,9],[141,10,142,10],[141,11,142,11],[141,12,142,12],[141,13,142,13],[141,14,142,14],[141,15,142,15],[143,5,144,5],[143,6,144,6],[143,7,144,7],[143,8,144,8],[143,9,144,9],[143,10,144,10],[143,11,144,11],[143,12,144,12],[143,13,144,13],[143,14,144,14],[143,15,144,15],[145,5,146,5],[145,6,146,6],[145,7,146,7],[145,8,146,8],[145,9,146,9],[145,10,146,10],[145,11,146,11],[145,12,146,12],[145,13,146,13],[145,14,146,14],[145,15,146,15],[147,5,148,5],[147,6,148,6],[147,7,148,7],[147,8,148,8],[147,9,148,9],[147,10,148,10],[147,11,148,11],[147,12,148,12],[147,13,148,13],[147,14,148,14],[147,15,148,15],[149,5,150,5],[149,6,150,6],[149,7,150,7],[149,8,150,8],[149,9,150,9],[149,10,150,10],[149,11,150,11],[149,12,150,12],[149,13,150,13],[149,14,150,14],[149,15,150,15],[151,5,152,5],[151,6,152,6],[151,7,152,7],[151,8,152,8],[151,9,152,9],[151,10,152,10],[151,11,152,11],[151,12,152,12],[151,13,152,13],[151,14,152,14],[151,15,152,15],[153,5,154,5],[153,6,154,6],[153,7,154,7],[153,8,154,8],[153,9,154,9],[153,10,154,10],[153,11,154,11],[153,12,154,12],[153,13,154,13],[153,14,154,14],[153,15,154,15],[155,5,156,5],[155,6,156,6],[155,7,156,7],[155,8,156,8],[155,9,156,9],[155,10,156,10],[155,11,156,11],[155,12,156,12],[155,13,156,13],[155,14,156,14],[155,15,156,15],[157,5,158,5],[157,6,158,6],[157,7,158,7],[157,8,158,8],[157,9,158,9],[157,10,158,10],[157,11,158,11],[157,12,158,12],[157,13,158,13],[157,14,158,14],[157,15,158,15],[159,5,160,5],[159,6,160,6],[159,7,160,7],[159,8,160,8],[159,9,160,9],[159,10,160,10],[159,11,160,11],[159,12,160,12],[159,13,160,13],[159,14,160,14],[159,15,160,15],[161,5,162,5],[161,6,162,6],[161,7,162,7],[161,8,162,8],[161,9,162,9],[161,10,162,10],[161,11,162,11],[161,12,162,12],[161,13,162,13],[161,14,162,14],[161,15,162,15],[163,5,164,5],[163,6,164,6],[163,7,164,7],[163,8,164,8],[163,9,164,9],[163,10,164,10],[163,11,164,11],[163,12,164,12],[163,13,164,13],[163,14,164,14],[163,15,164,15],[165,5,166,5],[165,6,166,6],[165,7,166,7],[165,8,166,8],[165,9,166,9],[165,10,166,10],[165,11,166,11],[165,12,166,12],[165,13,166,13],[165,14,166,14],[165,15,166,15],[167,5,168,5],[167,6,168,6],[167,7,168,7],[167,8,168,8],[167,9,168,9],[167,10,168,10],[167,11,168,11],[167,12,168,12],[167,13,168,13],[167,14,168,14],[167,15,168,15],[169,5,170,5],[169,6,170,6],[169,7,170,7],[169,8,170,8],[169,9,170,9],[169,10,170,10],[169,11,170,11],[169,12,170,12],[169,13,170,13],[169,14,170,14],[169,15,170,15],[171,5,172,5],[171,6,172,6],[171,7,172,7],[171,8,172,8],[171,9,172,9],[171,10,172,10],[171,11,172,11],[171,12,172,12],[171,13,172,13],[171,14,172,14],[171,15,172,15],[173,5,174,5],[173,6,174,6],[173,7,174,7],[173,8,174,8],[173,9,174,9],[173,10,174,10],[173,11,174,11],[173,12,174,12],[173,13,174,13],[173,14,174,14],[173,15,174,15],[175,5,176,5],[175,6,176,6],[175,7,176,7],[175,8,176,8],[175,9,176,9],[175,10,176,10],[175,11,176,11],[175,12,176,12],[175,13,176,13],[175,14,176,14],[175,15,176,15],[177,5,178,5],[177,6,178,6],[177,7,178,7],[177,8,178,8],[177,9,178,9],[177,10,178,10],[177,11,178,11],[177,12,178,12],[177,13,178,13],[177,14,178,14],[177,15,178,15],[179,4,180,4],[179,5,180,5],[179,6,180,6],[179,7,180,7],[179,8,180,8],[179,9,180,9],[179,10,180,10],[179,11,180,11],[179,12,180,12],[179,13,180,13],[179,14,180,14],[179,15,180,15],[181,4,182,4],[181,5,182,5],[181,6,182,6],[181,7,182,7],[181,8,182,8],[181,9,182,9],[181,10,182,10],[181,11,182,11],[181,12,182,12],[181,13,182,13],[181,14,182,14],[181,15,182,15],[183,5,184,5],[183,6,184,6],[183,7,184,7],[183,8,184,8],[183,9,184,9],[183,10,184,10],[183,11,184,11],[183,12,184,12],[183,13,184,13],[183,14,184,14],[183,15,184,15],[185,5,186,5],[185,6,186,6],[185,7,186,7],[185,8,186,8],[185,9,186,9],[185,10,186,10],[185,11,186,11],[185,12,186,12],[185,13,186,13],[185,14,186,14],[185,15,186,15],[187,5,188,5],[187,6,188,6],[187,7,188,7],[187,8,188,8],[187,9,188,9],[187,10,188,10],[187,11,188,11],[187,12,188,12],[187,13,188,13],[187,14,188,14],[187,15,188,15],[189,5,190,5],[189,6,190,6],[189,7,190,7],[189,8,190,8],[189,9,190,9],[189,10,190,10],[189,11,190,11],[189,12,190,12],[189,13,190,13],[189,14,190,14],[189,15,190,15],[191,5,192,5],[191,6,192,6],[191,7,192,7],[191,8,192,8],[191,9,192,9],[191,10,192,10],[191,11,192,11],[191,12,192,12],[191,13,192,13],[191,14,192,14],[191,15,192,15],[193,5,194,5],[193,6,194,6],[193,7,194,7],[193,8,194,8],[193,9,194,9],[193,10,194,10],[193,11,194,11],[193,12,194,12],[193,13,194,13],[193,14,194,14],[193,15,194,15],[195,5,196,5],[195,6,196,6],[195,7,196,7],[195,8,196,8],[195,9,196,9],[195,10,196,10],[195,11,196,11],[195,12,196,12],[195,13,196,13],[195,14,196,14],[195,15,196,15],[197,5,198,5],[197,6,198,6],[197,7,198,7],[197,8,198,8],[197,9,198,9],[197,10,198,10],[197,11,198,11],[197,12,198,12],[197,13,198,13],[197,14,198,14],[197,15,198,15],[199,5,200,5],[199,6,200,6],[199,7,200,7],[199,8,200,8],[199,9,200,9],[199,10,200,10],[199,11,200,11],[199,12,200,12],[199,13,200,13],[199,14,200,14],[199,15,200,15],[201,5,202,5],[201,6,202,6],[201,7,202,7],[201,8,202,8],[201,9,202,9],[201,10,202,10],[201,11,202,11],[201,12,202,12],[201,13,202,13],[201,14,202,14],[201,15,202,15],[203,5,204,5],[203,6,204,6],[203,7,204,7],[203,8,204,8],[203,9,204,9],[203,10,204,10],[203,11,204,11],[203,12,204,12],[203,13,204,13],[203,14,204,14],[203,15,204,15],[205,5,206,5],[205,6,206,6],[205,7,206,7],[205,8,206,8],[205,9,206,9],[205,10,206,10],[205,11,206,11],[205,12,206,12],[205,13,206,13],[205,14,206,14],[205,15,206,15],[207,5,208,5],[207,6,208,6],[207,7,208,7],[207,8,208,8],[207,9,208,9],[207,10,208,10],[207,11,208,11],[207,12,208,12],[207,13,208,13],[207,14,208,14],[207,15,208,15],[209,5,210,5],[209,6,210,6],[209,7,210,7],[209,8,210,8],[209,9,210,9],[209,10,210,10],[209,11,210,11],[209,12,210,12],[209,13,210,13],[209,14,210,14],[209,15,210,15],[211,5,212,5],[211,6,212,6],[211,7,212,7],[211,8,212,8],[211,9,212,9],[211,10,212,10],[211,11,212,11],[211,12,212,12],[211,13,212,13],[211,14,212,14],[211,15,212,15],[213,4,214,4],[213,5,214,5],[213,6,214,6],[213,7,214,7],[213,8,214,8],[213,9,214,9],[213,10,214,10],[213,11,214,11],[213,12,214,12],[213,13,214,13],[213,14,214,14],[213,15,214,15],[215,4,216,4],[215,5,216,5],[215,6,216,6],[215,7,216,7],[215,8,216,8],[215,9,216,9],[215,10,216,10],[215,11,216,11],[215,12,216,12],[215,13,216,13],[215,14,216,14],[215,15,216,15],[217,4,218,4],[217,5,218,5],[217,6,218,6],[217,7,218,7],[217,8,218,8],[217,9,218,9],[217,10,218,10],[217,11,218,11],[217,12,218,12],[217,13,218,13],[217,14,218,14],[217,15,218,15],[219,4,220,4],[219,5,220,5],[219,6,220,6],[219,7,220,7],[219,8,220,8],[219,9,220,9],[219,10,220,10],[219,11,220,11],[219,12,220,12],[219,13,220,13],[219,14,220,14],[219,15,220,15],[264,4,265,4],[264,5,265,5],[264,6,265,6],[264,7,265,7],[264,8,265,8],[264,9,265,9],[264,10,265,10],[264,11,265,11],[264,12,265,12],[264,13,265,13],[264,14,265,14],[264,15,265,15],[267,4,268,4],[267,5,268,5],[267,6,268,6],[267,7,268,7],[267,8,268,8],[267,9,268,9],[267,10,268,10],[267,11,268,11],[267,12,268,12],[267,13,268,13],[267,14,268,14],[267,15,268,15],[270,4,271,4],[270,5,271,5],[270,6,271,6],[270,7,271,7],[270,8,271,8],[270,9,271,9],[270,10,271,10],[270,11,271,11],[270,12,271,12],[270,13,271,13],[270,14,271,14],[270,15,271,15],[273,4,274,4],[273,5,274,5],[273,6,274,6],[273,7,274,7],[273,8,274,8],[273,9,274,9],[273,10,274,10],[273,11,274,11],[273,12,274,12],[273,13,274,13],[273,14,274,14],[273,15,274,15]],"merged_total":1481,"flags":["merged_cut"]}
["汤汪厂深度处理设备保养年计划"]
[{"$nulls":14},"2019年"]
["序号","设备名称","设备位置","保养项目","一月","二月","三月","四月","五月","六月","七月","八月","九月","十月","十一月","十二月"]
[1,"调节池1#阀门","调节池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[2,"调节池2#阀门","调节池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[3,"调节池3#阀门","调节池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[4,"调节池4#阀门","调节池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[5,"1#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[6,"2#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[7,"3#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[8,"4#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[9,"5#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[10,"6#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[11,"7#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[12,"8#搅拌器","调节池","轴承",null,null,"★"]
[{"$nulls":3},"减速箱",null,null,"★"]
[13,"1#潜污泵","调节池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":4},"●★"]
[14,"2#潜污泵","调节池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":4},"●★"]
[15,"3#潜污泵","调节池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":4},"●★"]
[16,"4#潜污泵","调节池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":4},"●★"]
[17,"5#潜污泵","调节池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":4},"●★"]
[18,"6#潜污泵","调节池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":4},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":4},"●★"]
[19,"反硝化旁通阀门","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[20,"1#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[21,"2#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[22,"3#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[23,"4#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[24,"5#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[25,"6#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[26,"7#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[27,"8#手动闸门","反硝化滤池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[28,"1#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[29,"2#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[30,"3#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[31,"4#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[32,"5#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[33,"6#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[34,"7#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[35,"8#气动进水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[36,"1#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[37,"2#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[38,"3#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[39,"4#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[40,"5#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[41,"6#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[42,"7#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[43,"8#气动进气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":9},"★"]
[]
[44,"1#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[45,"2#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[46,"3#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[47,"4#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[48,"5#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[49,"6#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[50,"7#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[51,"8#气动排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[52,"1#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[53,"2#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[54,"3#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[55,"4#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[56,"5#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[57,"6#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[58,"7#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[59,"8#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[60,"9#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[61,"10#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[62,"11#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[63,"12#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[64,"13#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[65,"14#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[66,"15#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[67,"16#气动排水调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",null,null,"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":6},"★"]
[]
[68,"排气调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":3},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":7},"★"]
[]
[69,"排水公共调节阀","反硝化滤池","过滤器减压阀定期排污",{"$nulls":3},"●",{"$nulls":3},"●"]
[]
[{"$nulls":3},"O型圈检查或更换",{"$nulls":7},"★"]
[]
[70,"1#排污泵","反硝化滤池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[71,"2#排污泵","反硝化滤池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[72,"1#废水泵","反硝化滤池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[73,"2#废水泵","反硝化滤池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[74,"3#废水泵","反硝化滤池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[75,"1#空压机","反硝化滤池曝气风机房","冷却器、滤芯冷凝水",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"润滑油过滤器、油气分离器",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"更换V型皮带",{"$nulls":10},"●"]
[76,"2#空压机","反硝化滤池曝气风机房","冷却器、滤芯冷凝水",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"润滑油过滤器、油气分离器",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"更换V型皮带",{"$nulls":10},"●"]
[77,"1#鼓风机","反硝化滤池曝气风机房","冷却器、滤芯冷凝水",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"润滑油过滤器、油气分离器",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"更换V型皮带",{"$nulls":10},"●"]
[78,"2#鼓风机","反硝化滤池曝气风机房","冷却器、滤芯冷凝水",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"润滑油过滤器、油气分离器",{"$nulls":4},"★",{"$nulls":5},"★"]
[{"$nulls":3},"更换V型皮带",{"$nulls":10},"●"]
[79,"1#快速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[80,"2#快速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[81,"3#快速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[82,"4#快速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[83,"1#慢速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[84,"2#慢速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[85,"3#慢速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[86,"4#慢速搅拌器","高效沉淀池","油位、排气口",null,"●",{"$nulls":5},"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[87,"1#刮泥机","高效沉淀池","检查油位、润滑链条",null,"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[88,"2#刮泥机","高效沉淀池","检查油位、润滑链条",null,"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[89,"3#刮泥机","高效沉淀池","检查油位、润滑链条",null,"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[90,"4#刮泥机","高效沉淀池","检查油位、润滑链条",null,"●",{"$nulls":5},"●"]
[]
[{"$nulls":3},"更换润滑油",{"$nulls":7},"★"]
[91,"1#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[92,"2#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[93,"3#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[94,"4#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[95,"5#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[96,"6#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[97,"7#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[98,"8#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[99,"9#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[100,"10#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[101,"11#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[102,"12#微砂循环泵","高效沉淀池","轴承、润滑脂","●","●","●","●","●","●","●","●","●","●","●","●"]
[103,"斜板冲洗鼓风机","高效沉淀池","检查滤芯、油位","●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油、皮带",{"$nulls":3},"★"]
[104,"1#集水坑排污泵","高效沉淀池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[105,"2#集水坑排污泵","高效沉淀池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[106,"1#污泥排放泵","高效沉淀池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[107,"2#污泥排放泵","高效沉淀池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[108,"3#污泥排放泵","高效沉淀池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":5},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":5},"●★"]
[109,"4#高效进水电动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[110,"1#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[111,"2#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[112,"3#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[113,"4#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[114,"5#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[115,"6#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[116,"7#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[117,"8#手动闸门","高效沉淀池","丝杆",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[118,"接触池1#电动阀门","接触池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[119,"接触池2#电动阀门","接触池","丝杆","●",null,null,"●",null,null,"●",null,null,"●"]
[120,"1#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[121,"2#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[122,"3#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[123,"4#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[124,"5#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[125,"6#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[126,"7#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[127,"8#潜污泵","接触池","整体检查"]
[{"$nulls":3},"油室、轴承、传感器、机械密封、冷却液",{"$nulls":8},"★"]
[{"$nulls":3},"绝缘电阻、电器电缆、提升链",{"$nulls":8},"●★"]
[128,"1#碳源加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[129,"2#碳源加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[130,"3#碳源加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[131,"4#碳源加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[132,"1#PAC加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[133,"2#PAC加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[134,"3#PAC加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[135,"4#PAC加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[136,"5#PAC加药泵","加药间","油位、清理背阀",null,null,"●",null,null,"●",null,null,"●",null,null,"●"]
[{"$nulls":3},"更换润滑油",{"$nulls":11},"★"]
[137,"1#PAM加药泵","加药间","更换润滑油",{"$nulls":11},"★"]
[138,"2#PAM加药泵","加药间","更换润滑油",{"$nulls":11},"★"]
[139,"3#PAM加药泵","加药间","更换润滑油",{"$nulls":11},"★"]
[140,"4#PAM加药泵","加药间","更换润滑油",{"$nulls":11},"★"]
[141,"5#PAM加药泵","加药间","更换润滑油",{"$nulls":11},"★"]
[142,"1#次氯酸钠加药泵","加药间","润滑油",null,null,"●",null,null,"●",null,null,"●",null,null,"★"]
[143,"2#次氯酸钠加药泵","加药间","润滑油",null,null,"●",null,null,"●",null,null,"●",null,null,"★"]
[144,"3#次氯酸钠加药泵","加药间","润滑油",null,null,"●",null,null,"●",null,null,"●",null,null,"★"]
[145,"4#次氯酸钠加药泵","加药间","润滑油",null,null,"●",null,null,"●",null,null,"●",null,null,"★"]
[146,"5#次氯酸钠加药泵","加药间","润滑油",null,null,"●",null,null,"●",null,null,"●",null,null,"★"]
[147,"储池碳源1#加药泵 ","加药间","加注润滑脂",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[148,"储池碳源2#加药泵 ","加药间","加注润滑脂",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[149,"储池PAC1#加药泵 ","加药间","加注润滑脂",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[150,"储池PAC2#加药泵 ","加药间","加注润滑脂",null,"●",null,null,"●",null,null,"●",null,null,"●"]
[151,"反硝化进水DO仪","反硝化滤池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[152,"反硝化进水硝氮仪","反硝化滤池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[153,"反硝化出水DO仪","反硝化滤池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[154,"反硝化出水硝氮仪","反硝化滤池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[155,"反硝化出水氨氮仪","反硝化滤池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[156,"高效进水PH仪","高效沉淀池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[157,"高效进水SS仪","高效沉淀池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[158,"高效出水SS仪","高效沉淀池","清洗、标定","●","●","●","●","●","●","●","●","●","●","●","●"]
[159,"碳源1#搅拌器","加药间","轴承",{"$nulls":11},"★"]
[{"$nulls":3},"减速箱",{"$nulls":11},"★"]
[160,"碳源2#搅拌器","加药间","轴承",{"$nulls":11},"★"]
[{"$nulls":3},"减速箱",{"$nulls":11},"★"]
[]
[null,"注：●－－一级保养   　  　",{"$nulls":4},"★－－二级保养  "]
["编制：",{"$nulls":3},"审核：",{"$nulls":3},"批准：",{"$nulls":3},"编制日期："]