{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":30,"n_cols":7,"rows_kept":30,"merged":[[0,1,0,6],[1,1,1,6]]}
[null,"附件二："]
[null,"2019年度汤汪污水厂设备设施维修工作计划"]
[null,"序号","设备名称","使用地点","规格型号及功率","厂家","现状"]
[null,1,"1#潜污泵","进水泵房","KRTK350-420/806UIG   75KW","KSB","累计运行6752小时流量变小"]
[null,2,"3#潜污泵","进水泵房","KRTK350-420/806UIG 75KW","KSB","累计运行5158小时流量变小"]
[null,3,"1#罗茨小风机","曝气沉砂池","1.04Pq=11㎥/h","法国海鹏","使用5年以上"]
[null,4,"4#回流泵","一期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,5,"5#回流泵","一期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,6,"7#回流泵","一期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,7,"8#回流泵","一期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,8,"1#剩余泵","一期生物池","KRTK-100-250/54UG 5.5KW","KSB","使用5年以上"]
[null,9,"2#剩余泵","一期生物池","KRTK-100-250/54UG 5.5KW","KSB","使用5年以上"]
[null,10,"3#剩余泵","一期生物池","KRTK-100-250/54UG 5.5KW","KSB","使用5年以上"]
[null,11,"4#剩余泵","一期生物池","KRTK-100-250/54UG 5.5KW","KSB","使用5年以上"]
[null,12,"3#回流泵","二期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,13,"4#回流泵","二期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,14,"5#回流泵","二期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,15,"6#回流泵","二期生物池","KRTK200-281/96UIG   9KW","KSB","使用5年以上"]
[null,16,"3#剩余泵","二期生物池","KRTK-100-250/54UG 5.5KW","KSB","使用5年以上"]
[null,17,"4#剩余泵","二期生物池","KRTK-100-250/55UG 5.5KW","KSB","使用5年以上"]
[null,18,"5#剩余泵","二期生物池","KRTK-100-250/55UG 5.5KW","KSB","使用5年以上"]
[null,19,"6#剩余泵","二期生物池","KRTK-100-250/55UG 5.5KW","KSB","使用5年以上"]
[null,20,"8#剩余泵","二期生物池","KRTK-100-250/55UG 5.5KW","KSB","使用5年以上"]
[null,21,"一期3#罗茨鼓风机","一期鼓风机房","GM90S  132KW","德国ARZEN","使用5年以上"]
[null,22,"一期7#罗茨鼓风机","一期鼓风机房","GM90S  132KW","德国ARZEN","累计运行9860小时"]
[null,23,"一期6#罗茨风机","一期鼓风机房","GM90S  132KW","德国ARZEN","使用5年以上"]
[null,24,"二期5#罗茨鼓风机","二期鼓风机房","GM150S  250KW","德国ARZEN","累计运行8020小时"]
[null,25,"3#污泥泵","脱水机房","BN 35-6L",null,"磨损严重"]
[null,26,"2#中心传动浓缩机","2#浓缩池","NZs1-16","扬州天雨","设备运行年数较长"]
[null,"合计"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}